Dr. Y. S. R. HORTICULTURAL UNIVERSITY

VENKATARAMANNAGUDEM – 534 101

RE-TENDER DOCUMENT

FOR

### DESIGN, SUPPLY, INSTALLATION & COMMISSIONING

### OF EXHIBITION, DISPLAY, DIGITAL & INTERIOR INFRASTRUCTURE

## FOR ESTABLISHMENT OF

# ANANTHA UDYANA HERITAGE CENTRE

AT

Dr.YSRHU-COLLEGE OF HORTICULTURE,

ANANTHARAJUPETA, RAILWAY KODURU, 516 105

TIRUPATHI (DIST), ANDHRA PRADESH.

Tender Notice No: No:2/RKVY/AnanthaUdyana Heritage/Dr.YSRHU/COH-Anantharajupeta/

2025-26

Date of Commencement of	: 	30.01.2026 at 5.00 PM

DOWN LOADING OF THE

BID DOCUMENT

Last date for receipt of bids	: 	05.02.2026 at 5.00 PM

Dr Y.S.R. Horticultural University

College of Horticulture, Anantharajupeta,

Railway Koduru, 516 105

Tirupathi (Dist), Andhra Pradesh.

TIME AND DATE OF

Opening of the bid 		:06.02.2026 at 11.00 AM

ADDRESS FOR COMMUNICATION:

ASSOCIATE DEAN

COLLEGE OF HORTICULTURE, ANANTHARAJUPETA,

RAILWAY KODURU, 516 105

TIRUPATHI (DIST), ANDHRA PRADESH

Mobile No: 73826 33651

email: ad-arpt@drysrhu.edu.in

The tender document containing terms and conditions for the execution of this project along with specifications and EMD to be paid are appended.

INVITATION FOR BIDS

  - The location of the site is at College of Horticulture, Anantharajupeta, Railway koduru, Tirupathi (Dst.) of Andhra Pradesh.

  - Bids are invited from nationally/internationally reputed manufacturers/their authorized representatives only, for the above said equipment. The authorized representative must attach an authorization letter from the manufacturers along with the tender without which the tender will be rejected (for further reference please refer point 16 in Annexure I (Part-I).

  - The bidders are also required to furnish their previous experience certificate for the supply of similar equipment.

  - The supply of equipment must be carried out as per the standard specifications under the supervision of concerned authority of COH, Anantharajupeta and duly handing over all warranty certificates for the said equipment.

      - All bidders must quote equipment; otherwise bid will be summarily rejected.

- All local taxes to be paid to the government shall be included in the price quoted as F.O.R. destination.

- Custom duty exemption certificate will be issued in case necessary.

V)     The bids should be submitted with in time specified at the office of Associate Dean, COH, Anantharajupeta along with EMD as specified here under against each item.

| S.No | Item | Qty | Location |
| --- | --- | --- | --- |
| 1 | Design, Supply, Installation & Commissioning of Exhibition, Display, Digital and Interior Infrastructure for Establishment of “AnanthaUdyana Heritage Centre” at College of Horticulture, Anantharajupeta (as per specifications detailed in Annexure–II). | 1 Job | COH, Anantharajupeta |

Bidders must pay the EMD Rs.10,000/- against each of the item in the form of crossed D.D. drawn in favor of The Comptroller, DrYSRHU,Venkataramannagudem, Tadepalligudem payable at Union Bank of India (formerly AndhraBank)/ any nationalized bank, Tadepalligudemand processing fee of Rs.1,000/- (Rupees One thousand only) through DD in favor of The Comptroller, Dr YSRHU, Venkataramannagudem, Tadepalligudem payable at Union Bank of India (formerly AndhraBank)/ any nationalized bank,  Tadepalligudem. The processing fee is non-refundable and tender documents without EMD or Processing fee will be rejected.

VI)    Specifications given are indicative and the tender is to give a detailed description and specifications for each equipment. The same would be given weightage in finalizing the tender.

VII)     The equipment to be supplied by the tenderers should be branded and meet the quality

standard as per the existing norms.

VIII)	The bids invited on two-part basis, the Bidder shall seal the technical bid and the priced bid in two separate envelops duly marked as “Technical bid” and “price bid”. Both the envelopes shall then be sealed in one outer envelope.

All bids must be accompanied by a bid security/Earnest Money Deposit as specified in the tender details and must be delivered to the above office at the date and time indicated above. Bids will be opened in the presence of Bidders' authorized representatives who choose to attend on the specified date and time. In the event of the date specified for bid receipt and opening being declared as a closed holiday for purchaser’s office, the due date for submission of bids and opening of bids will be the following working day at the appointed time.

IX) 	Dr.YSR Horticultural University reserves the right to accept any or all tenders either in part or in full or to split the order without assigning any reasons therefore.

X)	The specifications and other conditions prescribed in Annexure –II  of this tender shall also be treated as part of these tender documents for all purposes.

XI)    This Invitation for Bids is open to all suppliers.

Bidders who have been blacklisted / suspended by the purchaser or sister concerns are ineligible to quote. The quotes of such firms shall be summarily rejected.Prices shall be quoted in Indian Rupees for all offers as FOR –DESTINATION BASED and in case of offers received for supply from foreign countries may comply the offers to a convertible to Indian currency and customs duty as applicable to each item be given separately for parity during evaluation.

ELIGIBILITY CRITERIA

- The preference would be given to manufacturer with experience of having supply of similar equipment’s in reputed Agricultural Universities / State Department of Horticulture / ICAR institutes/private organizations.

- Certificate from the project client for award of contract and supply of equipment in original or its notarized copy for equipment claimed to be submitted.

- The company bidding should be in the industry for at least 5 years in the same field. Tenderers should have authorized dealer certificate/ distributor of the OEM/manufacturing certificate (Please attach certificate).

- Tenderers should have a minimum average annual turnover of ₹ 25 lakhs or above for supply of similar equipment’s. Audited financial statements duly certified by chartered accountant for the last three financial years ending March 31st, 2025 should be submitted.

- The buyer reserves the right to evaluate the tender on Technical Presentation/ capabilities and is not bound to accept lowest tender / quotations.

EVALUATION OF BID:

- The Technical Bid documents will be opened first and evaluated by the Tender Committee. Financial Bid Documents of only those bidders will be opened who have qualified in Technical Bid.

- The Competent Authority reserves the right to accept or reject any tender without any reason thereof.

- Prices to be quoted on FOR basis including all taxes including GST/freight/ installation/commissioning/trial/training charges etc. in Indian rupees.

- It is necessary to submit all the relevant documents like Processing fee, EMDRs. 10,000/-, Income tax return files for last 3 years, GST/Sales Tax Registration, Authorized dealer of a reputed company or proof of being an authorized distributor of the OEM, along with technical bid.

- Tenderer should submit the copies of Purchase Orders in support of their genuineness in supplying of equipment’s in reputed Universities / Colleges / Departments / Institutes/private organizations. The tenderer should submit users list for the last 5 years.

- It is necessary to submit all the relevant documents like Pan Card, ISO Certification, GST/Sales Tax Registration, Authorized dealer of a reputed company or proof of being an authorized distributor of the OEM, Certificate of Incorporation / Partnership Deed, In-voice, Make and model, warranty and installation details along with financial bid.

DISQUALIFICATION:

The EOI may, at its own sole discretion, at any time during the EOI process, disqualify any Interested party from the EOI process if:

- the response to the tender is submitted after the dead line for submission.

- the Interested Entity has made misleading or false representation in the forms, statements, attachments submitted in proof of eligibility.

- the tender is not accompanied by required documentation.

- the Interested Entity failed to provide clarifications related thereto, when sought.

The Dr.YSRHU reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and the Dr. YSRHU decision shall be final in this regard.

ANNEXURE – I (PART I)

TECHNICAL BID: filling up of Proforma

The technical bid shall accompany with the enclosures for components as per proforma prescribed and is attached with the document along with the details as under:

| S. No. | Intervention/Component | Annexure (With page nos.) |
| --- | --- | --- |
| 1 | Company Profile |  |
| 2 | Past Experience of manufacturer with certificates/ work order/ completion etc. |  |
| 3 | No. of years of experience in this field |  |
| 4 | Past experience in supply of equipment |  |
| 5 | Experience of Engineers/ technician and the capacity for service with service center |  |
| 6 | Financial Strength of the Firm |  |
| 7 | Office details |  |
| 8 | GST registration certificate |  |
| 9 | Any others as specified in the general bid document |  |

General Terms & Conditions:

- Technical quote / bid and price quote / bid, should be submitted separately.

- A compliance statement in detail for each individual technical parameters / component of each instrument including warranty etc. as given in each instrument should be prepared by the vendor in the Technical Bid.

- Each firm should submit separately technical specifications as at serial no.2 in one single envelope – technical quote. However, the price bids for equipment quoted with the offer should be submitted separately for equipment wise.

- Validity of quotations/tenders should be at least 3 months from last date of receipt of quotations/tenders.

- Product brochures should be enclosed for equipment.

- Make and Model should be mentioned clearly.

- Name of the customer/s with telephone, e-mail ID should be given, for each instrument, separately.

- The service network team/persons with contact numbers, mailing address, e-mails preferably in AP should be given for each instrument separately.

- If the instrument is imported, the supplier should take all responsibilities for clearing, duties, delivery etc.,

- Installation should be at free of cost.

- Training to be provided at free of cost.

- All the supplies should be through authorized dealer/distributor in AP (Authorized dealer / distributor certificate should be enclosed along with quotations/tenders).

- All quotations / tenders for each instrument should have compliance report as per the specifications mentioned point wise.

- The instruments should be delivered at COH, Anantharajupetaat free of cost or the price quoted should include the delivery and handling charges, if any. No additional charges will be paid towards delivery and installation. Further, 5%GST has to be provided as university provides the DSIR certificate.

- All instruments should be supplied along with hard copies of operating manual and soft copies in CD/DVD / flash drive/software’s, wherever required.

- For all imported equipment’s, the supplier holds the responsibility for clearance, and delivery to the destination at COH, Anantharajupeta. Dr. YSRHU will issue customs exemption certificate as applicable and as available at the time of clearance.

- The quotations/tenders should be submitted in a sealed cover super scribing “Quotation/ Tender (TECHNICAL BID/ PRICE BID) for supply of________________________ (S.No: ) for COH, AnantharajupetaAndhra Pradesh”.

The Dr. Y.S.R.H.U reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and Dr Y.S.R.H.U decision shall be final in this regard.

Annexure– I (Part–II)

“DECLARATIONOF THE BIDDER”

- That I/We am/are the authorized nominee (s) of the firm hereby submit tender to College of Horticulture, Anantharajupeta. The copy of the power of Attorney is attached here with.

- I am to state that the information provided in the tender form is true and correct

- I/We may be punished as per law for any wrong information, misleading facts provided in the tender form besides rejection of my/our tender.

- In case of any dispute, the Jurisdiction will be as applicable to Dr YSRHU only.

- I/We have carefully read all the general and specific terms and conditions of the tender and I solemnly declare that the same are acceptable to me/us and binding on me/us.

Place				:                                    Signature of Bidder	:

Date				:

Name of Bidder		:

Capacity in which signed	:

Full address of the Bidder	:			With seal & stamp	:

(Attach Identity card Xerox)

Phone No.           		:

Mobile No.			:

# ANNEXURE – II

### TECHNICAL SPECIFICATIONS FOR ANANTHA UDYANA HERITAGE CENTRE

### The bidder must supply, install, and commission the following equipment as a complete

lot. Further, please note the bid submission procedure:

1. Technical Bid – to be placed in one sealed envelope.

2. Financial Bid – to be placed in a separate sealed envelope.

3. EMD (Rs.10,000/-) and Processing Fee (Rs.1,000/-) – to be placed in a separate sealed

envelope.

* All the above three sealed envelopes should then be kept together in one main cover and

submitted before the due date.

* Any deviations from the above will lead to rejection of the tender.

* 60% of the amount will be paid in advance, and the remaining 40% will be paid after

completion of the project

* As per University guidelines, 2% GST TDS (1% SGST and 1% CGST separately) and 2% Income Tax shall be mandatorily deducted from the bills of vendor, wherever applicable.

Format for submitting technical bid

| S.No. | Item Name | Specifications | Make | Model | Complies the tender specs Yes/No | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

Format for submitting financial bid

| S. No. | Item Name | Specifications of our offer | Make and type | Quantity | Unit Price | Total Price | GST % | GST Amount | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Room Dimensions: 18.86 X 12.23 meters

Note: Measurements of the above design are given in square feet (sq. ft.).

| SL. No. | Item Name | Description | QTY |
| --- | --- | --- | --- |
| 1 | Wall Panelling | Wall paneling system made from high-quality commercial/marine grade plywood, minimum 18 mm thickness, suitable for interior applications. | 2400 Sft |
|  |  | Finished with laminated mica (decorative laminate) of approved shade and texture, scratch-resistant and easy to maintain. |  |
|  |  | Panel supported on a robust MS / GI / Wooden support structure, adequately designed to ensure strength, stability, and long service life. |  |
|  |  | All plywood edges to be properly sealed and finished to prevent moisture ingress and warping. |  |
|  |  | Support structure to be anchored securely to wall/floor/ceiling using appropriate fasteners and hardware. |  |
|  |  | Complete work to include fabrication, supply, installation, alignment, and finishing, as per site conditions and approved drawings. |  |
| 2 | Meeting Room Table | Meeting room table made from high-quality engineered wood / plywood / MDF, minimum 18 mm thickness, suitable for heavy-duty office use. Size - 10ft x 4ft x 2.5ft | 1 Nos. |
|  |  | Finished with laminated / veneered / pre-laminated surface, smooth, scratch-resistant, and easy to clean. |  |
|  |  | Table supported on a sturdy MS / wooden framework, powder-coated or finished to ensure durability and corrosion resistance. |  |
|  |  | Design to include adequate leg space, smooth edges, and ergonomically suitable dimensions as per meeting room requirements. |  |
|  |  | Provision for cable management, including grommets or concealed raceways, if required. |  |
|  |  | Complete with supply, fabrication, installation, and final finishing, as per approved drawings and site conditions. |  |
| 3 | Meeting Room Chair | Ergonomically designed meeting room chair suitable for prolonged seating during meetings and conferences. | 12 Nos. |
|  |  | Chair structure made of high-strength molded plastic / plywood / metal frame, ensuring durability and stability. |  |
|  |  | Seat and backrest upholstered with premium quality fabric / leatherette, with adequate cushioning for comfort. |  |
|  |  | Provision of fixed or adjustable armrests, as applicable. |  |
|  |  | Chairs to be stable, wobble-free, and capable of withstanding regular commercial usage. |  |
|  |  | Complete with supply, installation, and placement at designated locations as per site layout. |  |
| 4 | Glass Partion and Glass Door | Glass partition system suitable for office / commercial interiors, including fixed glass panels and glass doors. Size - 14ft (W) x 11ft (H) | 249 Sft |
|  |  | Glass to be toughened safety glass, minimum 10–12 mm thickness, clear / frosted / film-applied as per approved design. |  |
|  |  | Framework to be aluminium / MS / SS sections, finished with powder coating / anodizing for durability and aesthetics. |  |
|  |  | Glass doors to be provided with high-quality hardware such as hinges, handles, door closers, floor springs, locks, and patch fittings. |  |
|  |  | All glass edges to be polished and safe, with proper sealing and alignment. |  |
|  |  | Installation to ensure structural stability, smooth operation, and safety compliance. |  |
|  |  | Complete with fabrication, supply, installation, alignment, and final finishing, as per approved drawings and site conditions. |  |
| 5 | Fire Extinguisher | Portable fire extinguisher suitable for indoor commercial / office applications. | 2 Nos. |
|  |  | Type to be ABC / CO₂ / Clean Agent, as required and as per fire safety norms. |  |
|  |  | Conforming to relevant IS / NBC fire safety standards and approved by statutory authorities. |  |
|  |  | Equipped with pressure gauge, discharge hose/nozzle, and wall-mounting bracket. |  |
|  |  | Clearly labeled with operating instructions, safety markings, and manufacturing details. |  |
|  |  | Complete with supply, installation, commissioning, and certification, as required by local fire regulations. |  |
| 6 | POP False Ceiling | False ceiling made of gypsum/POP boards, suitable for interior commercial applications. | 2495 Sft |
|  |  | Board thickness minimum 12 mm, fixed on a GI metal framework suspended from the RCC slab using approved hangers and fasteners. |  |
|  |  | All joints to be properly taped, finished, and smoothened to achieve a uniform and crack-free surface. |  |
|  |  | Ceiling surface to be finished with primer and approved quality paint, as per design requirements. |  |
|  |  | Provision for cut-outs for lights, HVAC, sprinklers, and other services, as required. |  |
|  |  | Complete with supply, fabrication, installation, finishing, and alignment, as per approved drawings and site conditions. |  |
| 7 | Ceiling Mount LED Lights (Square / Round) | Ceiling-mounted LED light fixtures, square or round type, suitable for indoor commercial applications. | 28 Nos. |
|  |  | Luminaire housing made of high-quality metal / polycarbonate, with efficient heat dissipation. |  |
|  |  | Light output to provide uniform illumination with low glare and high energy efficiency. |  |
|  |  | Operating on 230V AC, 50 Hz, with integrated electronic driver. |  |
|  |  | LED lights to have long operational life and low maintenance requirements. |  |
|  |  | Complete with supply, installation, testing, and commissioning, as per site requirements and approved layout. |  |
| 8 | Ceiling Fabric Signage | Ceiling-hung signage system made from high-quality fabric / stretch fabric, suitable for indoor commercial applications. Size - 10ft (L) x 6ft (H) | 112 Sft |
|  |  | Printed using high-resolution, fade-resistant printing technology, ensuring clear visibility and uniform color reproduction. |  |
|  |  | Fabric mounted on a lightweight aluminium / MS frame, designed for stable suspension from the ceiling. |  |
|  |  | Suspension using GI wires / rods / approved hanging hardware, securely anchored to the ceiling structure. |  |
|  |  | Signage to be wrinkle-free, neatly finished, and aligned as per approved design and layout. |  |
|  |  | Complete with design coordination, fabrication, supply, installation, and final alignment, as per site conditions. |  |
| 9 | Spot Lights | LED spot lights suitable for accent and focused illumination in indoor commercial spaces. | 54 Nos. |
|  |  | Fixture housing made from die-cast aluminium / metal, ensuring durability and effective heat dissipation. |  |
|  |  | Adjustable beam angle for directional lighting, as required. |  |
|  |  | Operates on 230V AC, 50 Hz, with integrated driver. |  |
|  |  | Energy-efficient LED with long service life and consistent light output. |  |
|  |  | Complete with supply, installation, testing, and commissioning, as per approved lighting layout. |  |
| 10 | Entry 3D Signage | Three-dimensional entry signage suitable for indoor commercial / public areas. | 21 Sft |
|  |  | Signage fabricated using acrylic / metal / PVC / aluminium composite material, as per approved design. |  |
|  |  | Letters and elements to have uniform thickness, clean edges, and professional finish. |  |
|  |  | Finished with paint / vinyl / laminated surface, resistant to fading and wear. |  |
|  |  | Mounted securely on wall / panel using concealed or approved fixing hardware. |  |
|  |  | Complete with design coordination, fabrication, supply, installation, alignment, and final finishing, as per approved artwork and site conditions. |  |
| 11 | LED Sandwich Frames | Double-sided / single-sided LED sandwich frame suitable for indoor signage and display applications. | 74 Nos. |
|  |  | Frame made from 3MM Acrylic in the bottom & 2MM Acrylic on the top with 4 Nos SS studs on all corners to fix on the wall , UV Print on Translucent Vinyl |  |
|  |  | High-quality LED strips / modules embedded to provide uniform illumination, energy-efficient and long-lasting. |  |
|  |  | Diffuser panel made from acrylic / polycarbonate, ensuring even light distribution without glare. |  |
|  |  | Powered with 230V AC, 50 Hz LED driver, conforming to electrical safety standards. |  |
|  |  | Complete with fabrication, supply, installation, wiring, testing, and commissioning, as per approved drawings and site layout. |  |
|  |  | Size - 2ft (W) x 3ft (H) |  |
| 12 | LED Snapon Frames | LED Snap-On frame for indoor display and signage applications, providing easy graphic changeability. Size - 2ft (W) x 1.5ft (H) | 60 Nos. |
|  |  | Frame made of durable aluminium profile, lightweight and corrosion-resistant, with smooth finish (powder-coated / anodized). UV Print on Translucent Vinyl |  |
|  |  | Integrated LED strips / modules provide uniform illumination with energy efficiency and long operational life. |  |
|  |  | Front panel / diffuser made from acrylic / polycarbonate, ensuring glare-free, even light distribution. |  |
|  |  | Operates on 230V AC, 50 Hz, with approved LED driver and electrical safety compliance. |  |
|  |  | Complete with supply, fabrication, installation, wiring, testing, and commissioning, as per approved drawings and site conditions. |  |
| 13 | Interactive flat panel Display - 75" | 75-inch interactive flat panel display suitable for conference rooms, training rooms, and commercial presentations. | 1 Nos. |
|  |  | Display type: LED / IPS / 4K UHD, providing clear, bright, and uniform image quality. |  |
|  |  | Multi-touch capability (10–20 points) with high accuracy for smooth interaction. |  |
|  |  | Connectivity: HDMI, USB, USB-C, LAN, Wi-Fi, Bluetooth, supporting seamless integration with external devices. |  |
|  |  | Built-in OS / software platform for annotation, presentation, and collaboration (Android / Windows-compatible). With Builtin 8 Array mic and 48 Megapixel camera |  |
|  |  | Display to include wall mount / stand, power supply, and installation accessories. |  |
|  |  | Complete with supply, installation, testing, and commissioning, as per site layout and approved drawings. |  |
| 14 | Air conditioner 2 Ton | Split / cassette / VRF air conditioning unit, suitable for commercial / office interiors as per site requirements. | 2 Nos. |
|  |  | Cooling capacity as per room size / load calculation, with energy-efficient operation (BEE 3-star or equivalent). |  |
|  |  | Features auto-restart, temperature control, and low-noise operation. |  |
|  |  | Indoor unit to be compact and aesthetically suitable, outdoor unit with robust construction for long service life. |  |
|  |  | Refrigerant: Environment-friendly (R32 / R410A), complying with statutory safety and environmental norms. |  |
|  |  | Complete with supply, installation, commissioning, piping, cabling, and testing, as per approved layout and drawings. |  |
| 15 | Air conditioner 1.5 Ton | 1.5 Ton split air conditioning unit, suitable for medium-sized commercial / office spaces. | 1 Nos. |
|  |  | Cooling capacity: 1.5 Tons (18,000 BTU/hr), with high energy efficiency (BEE 3-star or equivalent). |  |
|  |  | Features auto-restart, temperature control, sleep mode, and low-noise operation. |  |
|  |  | Indoor unit designed for compact, aesthetic appearance, outdoor unit built for durability and long service life. |  |
|  |  | Uses environment-friendly refrigerant (R32 / R410A), complying with safety and environmental standards. |  |
|  |  | Complete with supply, installation, commissioning, piping, electrical connections, and testing, as per approved layout and site conditions. |  |
| 16 | Electrical Wirings & Connections for wall panelling | Electrical wiring to be carried out using Polycab brand copper wires, FR / FRLS / LSZH grade, suitable for commercial and office applications. | 1 Lumpsum |
|  |  | Wires to conform to relevant IS standards, with proper insulation, high current-carrying capacity, and long service life. |  |
|  |  | All switches, sockets, and accessories to be of GM brand, modular type, with elegant finish and robust construction. |  |
|  |  | Switches to be flush-mounted, smooth in operation, and suitable for frequent commercial usage. |  |
|  |  | Wiring to be laid in concealed / surface conduits, properly dressed, ferruled, and terminated. |  |
|  |  | All electrical work to comply with statutory electrical safety norms and local regulations. |  |
|  |  | Complete with supply, installation, testing, and commissioning, including all accessories, as per approved electrical layout. |  |
| 17 | Electrical Wirings & Connections for double partision walls | Electrical wiring to be carried out using Polycab brand copper wires, FR / FRLS / LSZH grade, suitable for commercial and office applications. | 1 Lumpsum |
|  |  | Wires to conform to relevant IS standards, with proper insulation, high current-carrying capacity, and long service life. |  |
|  |  | All switches, sockets, and accessories to be of GM brand, modular type, with elegant finish and robust construction. |  |
|  |  | Switches to be flush-mounted, smooth in operation, and suitable for frequent commercial usage. |  |
|  |  | Wiring to be laid in concealed / surface conduits, properly dressed, ferruled, and terminated. |  |
|  |  | All electrical work to comply with statutory electrical safety norms and local regulations. |  |
|  |  | Complete with supply, installation, testing, and commissioning, including all accessories, as per approved electrical layout. |  |
| 18 | Transportation, Testing and Comissioning | Transportation of all materials, equipment, and systems from supplier’s premises to the project site, including loading, unloading, and safe handling. | 1 Lumpsum |
|  |  | Materials to be transported using appropriate packing and protection to prevent damage during transit. |  |
|  |  | Testing of all supplied and installed equipment/systems to ensure proper functioning, performance, and compliance with approved specifications. |  |
|  |  | Commissioning of systems after installation, including configuration, calibration, and operational checks. |  |
|  |  | Rectification of any defects or deficiencies observed during testing and commissioning at no additional cost. |  |
|  |  | Submission of test reports, commissioning certificates, and handover documents, as required. |  |
|  |  | Complete activity to be carried out in coordination with the client/consultant and as per site conditions. |  |
| 19 | Design Consultancy | Provision of design consultancy services for the project, covering interior, signage, and system integration aspects, as applicable. | 1 Lumpsum |
|  |  | Scope to include concept development, layout planning, and detailed design drawings based on client requirements and site conditions. |  |
|  |  | Preparation of 2D drawings, elevations, sections, and detailing, as required for execution and approvals. |  |
|  |  | Coordination with the client, consultants, and contractors for design finalization and technical clarifications. |  |
|  |  | Incorporation of statutory norms, safety standards, and functional requirements in the design. |  |
|  |  | Support during execution through design reviews, revisions, and site coordination, as required. |  |
|  |  | Submission of final approved drawings and design documents in soft and/or hard copy format. |  |
| 20 | Seed Display charts | 12 cavities per chart made of durable, cardboard or acrylic base suitable for educational Display | 10 Nos. |
| 21 | Acrylic specimen Display box | Size 6×4×4 material 5 to 6MM clear cast acrylic polished edges suitable for seed/specimen Display | 30 Nos. |
| 22 | Mini farm implement models | Handcrafted or moulded, educational grade, lightweight safe for Display representative of actual form tools | 30 Nos. |
| 23 | Acrylic specimen Display with literature | Size 6×6×4 inch acrylic box with polished edges includes printed educational literature | 30 Nos. |
| 24 | Photo laminations | size A3 minimum 170 GSM Foto paper high-quality print laminated for durability | 30 Nos. |
| 25 | Airtight glass jars | 1 L borosilicate glass, air tight lid, suitable for specimen Display | 30 Nos. |
| 26 | Insect Display box (Wall Hanging) | Size 90×60×11 cms clear acrylic frame, includes foam or cork base for pinning specimen, transparent lid for viewing | 02 Nos. |
| 27 | Insect Display box (Museum specimen display showcase) | Size 60×40×6 cms clear acrylic frame, includes foam or cork base for pinning specimen, transparent lid for viewing | 02 Nos. |
| 28 | Touchscreen digital kiosks | 43 inch Interactive inbuilt CPU operating system, Windows/android (latest stable version) | 1 Nos. |
| 29 | Disease symptom model | Life size dry polymer models | 50 Nos. |
| 30 | Seed Display Glass Domes | 12 - 15 Inch Dia, Clear Glass | 40 Nos. |
| 31 | Soil Profile Display Panel (Mounted Type) | Supply, fabrication and installation of soil profile display panel consisting of original soil samples fixed vertically showing distinct horizons, mounted on rigid backing board. The panel shall be enclosed in transparent acrylic sheet of minimum 6 mm thickness, with polished edges and corner stand-offs. Overall panel size shall be not less than 1200 mm × 600 mm. The display shall include printed scientific details (zone, soil series, location, classification, land use, charts, and photographs) on laminated or UV-printed sheet. Panel shall be wall-mounted, dust-proof, moisture-resistant, and suitable for long-term museum/educational display. | 5 Nos. |
| 32 | Wall mounted educational map display panel (printed graphic board) | Providing and fixing wall mounted educational display panel with high resolution printed graphic. Content to include institutional / organisational map with locations names and details as approved by Dept. Base material, Sun board/ACP/PVC board minimum 5 to 6 MM thickness realtime advertising eco solvent/UV Digital Printing, waterproof fade resistant and high clarity Finish mat or semi mat laminate, finish to avoid glare Frame aluminium/wooden frame with proper edge finishing Size as per site requirement Approximate 4 feet x 6 feet or approved size. Fixing mounted security on wall using suitable clamps/fasteners complete in all respects the item includes Designing printing, framing, transportation, and installation at site. | 1 Nos. |
| 33 | Display stands / tables | Banner stands - size 6×2.5 feet with Print Size 6×2.5 feet material, lightweight metal/aluminium frame includes printed Banner PVC with full colour print | 15 Nos. |
| 34 | Floor mounted magazine/literature, Display rack, (multi tier ) | Supplying and placing floor mounted multi tyre magazine/browser, display rack suitable for displaying printed literature in museum/exhibition areas Overall size 48 inches height into 24 inches with approximately Structure made up of powder coated, mild steel, Frame study and rest resistant Display tray minimum three inclined display tray for magazines/brochures with one bottom storage shelf for extra stock Tray design2 allow Easy viewing and removal of display material Finish black powder coated/approved colour, smooth and scratch resistant Mobility provided with heavy duty, castor wheels for Easy movement( lockable type preferred) Load capacity suitable for multiple magazines/books without deformation Item includes all fittings accessories and placing at site complete in all aspects Make/model or equivalent to be approved by engineering incharge. | 2 Nos. |
| 35 | Two step and table with storage blocks | Customer made with plywood and decoupage finish size 6 feet into 4 feet into 4 feet, includes two step and storage blocks for Display and materials | 4 Nos. |
| 36 | Round shape, three, step table for specimen and live models, Display plants | Customer made with plywood and deco page finish diameter 5 feet, height 4 feet Three steps for displaying plants, flowers and models | 4 Nos. |
| 37 | Glass display cabinet | The glass display cabinet shall be of size 1800 mm (W) × 450 mm (D) × 2100 mm (H) with 5 equal tiers, designed to accommodate minimum 30 preserved mango specimens (about 6 mangoes per shelf) in transparent air-tight jars, with proper spacing and uniform LED illuminationand proper labelling. | 1 Nos. |
| 38 | Partition Panel | Double sided wall panelling made from minimum 18 mm commercial/marine grade plywood with approved mica finish, supported on a powder-coated MS steel framework (minimum 1.2 mm thickness) to ensure rigidity and long-term durability. Complete with fabrication, supply, and installation. | 1800 Sqft |
| 39 | PVC Flooring | 1.6MM Thickness 2Mtr x 40 mtr Roll fixed on the flooring using bottloline Adhesive or Pidilite Adhesive | 2400 Sqft |

Note:

- All equipment and materials supplied under this tender shall be brand new, genuine, unused, and factory-sealed.

- A point-by-point compliance statement against each tender item and specification shall be enclosed with the technical bid.

- The bidder shall have prior experience in executing similar works of comparable nature in the same or similar department/organization. Supporting documentary proof shall be enclosed with the bid.

- Designing charges shall be quoted and payable strictly on unit basis and only for the items actually designed, supplied and installed.

- In case any item or quantity is reduced, modified or deleted, the corresponding designing charges shall be reduced proportionately.

- No lump-sum, minimum or conditional designing charges shall be admissible under any circumstances.

- Designing, wherever applicable, shall be strictly limited to layout, formatting and visual arrangement of content provided by the University.
No creative writing, content development or concept creation is included unless specifically mentioned in the tender.

- The quoted unit designing cost shall include up to two (2) rounds of revisions. Any additional revisions, if required, shall be undertaken only with prior written approval of the University.

- Designing charges shall be payable only for the actual quantity supplied, installed and accepted by the University.

- Final printing, fabrication or digital execution shall be undertaken only after written approval of the design from the competent authority of the University.
Any deviation from approved designs or execution without written approval shall render the item liable for rejection, without any additional cost to the University.

- All electrical, digital and LED-based items shall comply with relevant BIS/ISI safety standards. Vendor shall ensure earthing, surge protection and fire safety compliance for all installed equipment.

- All supplied items including furniture, display systems, signage, fabricated items, and digital equipment shall carry a minimum 12-month warranty against manufacturing defects.

- Unless otherwise specified, all dimensions shall be considered approximate and shall be verified at site before execution. Final quantities shall be as approved by the Engineer-in-Charge.

ANNEXURE – III

(General Conditions)

### Submission of Tender and Deposit of earnest money

- Quoted rate should be written legibly in ink or type written. No alterations should be made to any of the terms and conditions of the tenders by scoring out, altering or overwriting; similarly, no alterations are permitted in the rates quoted by them. No alterations will be allowed after this Office receives the tender. Ambiguity must be avoided in filling the tenders. However, any corrections etc., made will have to be duly attested with dated signatures and official seal. The tenders not complying with these conditions will be rejected summarily.

- The tenders not conforming to the prescribed terms and conditions of the Horticultural University or conditional Tenders or Tenders which cannot adhere to the prescribed time schedule are liable for rejection.

#### Validity of rates and other Conditions

- The defect liability period for the Equipments and erection of screen house shall be given for 12 months or more from the date of installation. In the event of any correction or defects or replacement of defective material done during this period, it should be corrected/ replaced at the cost of the bidder/ agency.

- Bids shall remain valid for a period of 90 days from the date of opening of the bid prescribed. In exceptional circumstances, the University may solicit the bidder’s consent for an extension of the period of validity. The request and response shall be made in writing / cable / telex / fax / e-mail.

- The validity of the tender will extend for a period of three months from the date of placing the initial order and it shall be open to the Dr.YSRHU to place the orders with the suppliers on the same rates, terms and conditions for any additional quantities likely to be recurred during that period.

- The bidders shall submit the technical bid and price bid in separate covers and kept in a single cover.

- The inner and outer envelops shall bear the following address:

THE ASSOCIATE DEAN

COLLEGE OF HORTICULTURE-

ANANTHARAJUPETA, RAILWAY KODUR -516105

TIRUPATHI (DIST), ANDHRA PRADESH.

- The inner envelopes should also contain the name and address of the bidder.

- Telex, cable, e-mail or facsimile bids will be rejected.

- Bidding Documents must be received by the University at the address specified not later than the time and date specified in the invitation (Notification) for bids.

- In theevent of the date specified being declared as a holiday for the University, the bids will be received up to the appointed time on the next working day.

- The Bidder’s representatives who are present shall sign in the register evidencing their attendance.

- During evaluation of bids subsequent to opening, the University may at its discretion, to ask the bidder for clarification of its bid. The request for clarification and the response shall be in writing and no-change in the bid will be entertained.

- The evaluation of the bid will take into account, the past experience in addition to the bid price. Such price should include all duties and taxes to be paid or payable on components of works.

- The bidder may present power point presentation to Committee on the following.

- Equipment related and their working performance

- Operation and maintenance

# Acceptance of tenders

- Price bids will be opened after completion of power point presentation in the presence of such tenderers who are qualified in technical bid as may be present. A decision with regard to acceptance of tender will be taken as soon as possible.

- The successful tenderer (s) will be intimated by letter (s) or other means of communication and the tenderer (s) so informed shall be bound from the time of transmission of such acceptance by the University. Formal acceptance of the tender (s) will be forwarded to successful tenderer (s) in due course but it will serve merely as a confirmation of the initial information and shall not affect the time from which the offer is/are is bound by the contract(s).

- The University is not bound to accept the lowest tender. Any or all the quotations may be rejected without assigning any reasons. It reserves the right of acceptance in whole or part of the offer made. The decision of the Dr.YSR Horticultural University in the matter shall be final and binding on the tenderers.

- 2% of income tax will be deducted from each item of the approved tender item.

TENDER EVALUATION

The evaluation and comparison of the bids shall be done for the technical as well as financial aspects.

a) Technical Bid Evaluation:

While power point presentation or the examination of the documents submitted by the tenderer, the committee shall have the right to verify the claims of experience made by the bidders.Based on the bid evaluation, only technically qualified bidders shall be short listed. After thorough evaluation of the technical bid by the committee, the financial bid of only technically qualified Bidders shall be opened in due course.

b) Financial Bid Evaluation:

The total cost of the project (landed cost) quoted by the bidder would be considered for financial bid evaluation.

Committee:

- The committee shall do the above evaluation. The committee shall determine the approach and methodologies for the issues, which may arise during the above, referred evaluation process and their decision is final. The decision of the committee to reject or accept shall be final and binding on all the bidders.

- The successful bidder shall be responsible for the maintenance of the equipment for a period of ONE YEAR from the date of installation. The bidder shall deploy at least one experienced person from time to time for advising any doubts regarding operation and maintenance besides troubleshooting whenever required.

#### Other contractual obligations

- The contract shall not be deferred/ modified except by written consent by both Dr. YSRHU and the Bidder.

- The Bidder shall not sublet or delegate this contract or part thereof without the written consent of the Horticultural University.

- No undertaking or commitment given by or made by any officer of the Universityverbally or in writing does not have any validity unless it is signed again by the authority competent who concluded an agreement earlier.

#### Consequence of non-supply and damages

- All risks of loss, damage or depreciation tothe equipment/ material there off shall be upon the supplier until the material is delivered at the addresses specified and in accordance with the provision of the contract. Till the material is received at the respective destination indicated by the university, the property continues to be at the risk of the Bidder.The mere fact that the material is delivered to transporter is no defense to the Bidder and the Bidder will be squarely held responsible for any delayed receipt of the material by the University or for loss or damage of any kind to the material in transit.

- Assuming that the bidder fails to deliver any or all the material covered by the contract, the Horticultural University reserves the right in addition to other legal remedies, to cancel the contract or any portion thereof and hold the Bidder liable for all damages sustained by the university by virtue of the Bidder failing to perform the contract and consequent cancellation of the contract.

- The time allowed for delivery of goods shall be deemed to be the essence of the contract. The University also reserves the right to cancel the purchase order in case supplies are delayed beyond the scheduled date of delivery and to make such arrangements as it may think fit for the completion of supplies on account and at the risk of the suppliers (s). The additional expenses thus incurred together with the consequential losses and also the liquidated damages shall be recovered from the supplier out of his / their security deposit / earnest money deposit and any other amount due to him / them. The balance still, if any, payable by the supplier shall be paid by him/them within 7 days of notice by the Dr.Y.S.R Horticultural University

FORFEITURE/REFUNDOF THE EARNEST MONEY DEPOSIT(EMD)

- In case the selected Tenderer(s) does not supply the equipment at the quoted rates within the stipulated time and commits any breach of any one or more of these terms and conditions, the Earnest Money Deposit deposited by the Tenderers (s) will be forfeited.

- Earnest Money of the unsuccessful Tenderer (s) shall be refunded within three months from the date of decision regarding the tenders. No interest is payable by the University on such deposit.

- On due performance and satisfactory completion of the order in all respects during the contract periods, the Earnest Money Deposit (Security Deposit) will be refunded to the Bidder (s) without interest within a period of 3 months with effect from the date of receipt of a request to this effect from the Bidder.

#### SETTLEMENT OF DISPUTES

#### Any difference or dispute arising out of or in connection with this tender or acceptance thereof or the contract that may be entered in consequence thereof, shall be decided by arbitration. The Chairman of the committee for purchase of the equipment, Dr.Y.S.R Horticultural University or his nominee shall be the sole arbitrator and the arbitrator’s decision shall be final and binding on the parties. The Tenderer(s) will have no objection to such appointment on any ground whatsoever including that such nominee, in his official capacity dealt with this matter at any stage.

- The parties hereby agree that in the event of any dispute no cause of action shall arise in their favor to approach any court unless they have restored to and exhausted the remedy of arbitration as envisaged above.

- The parties also do hereby agree that the contract envisaged by these terms and conditions shall be deemed to have been entered into at Dr.Y.S.R.H.U, V R Gudem and the courts at Eluru, West Godavari District alone will have jurisdiction to try and legal proceedings which may arise out of this contract. Neither party shall file any proceedings in any other Court.

TENDER FORM

(Should be included in Financial bid only)

From:						To

The Associate Dean

College of Horticulture-

Anantharajupeta, Railway Kodur -516105

Tirupathi (Dist), Andhra Pradesh.

Ref: 1. Your tender Notice No: NIT NO.   /Dr. Y.S.R.H.U/2025-26Dated...........

2.EMD – D.D. No. ...................Dated..........................for Rs............................

***

I/We have read the contents of the terms and conditions mentioned in your tender schedule and its enclosures and agree to abide by the same.

I/We hereby offer to Supply and Installation of Equipment to College of Horticulture, Anantharajupeta, Railway Kodurprescribed in the schedule (or such portion thereof as you may specify on the acceptance of tender) at the price given below.

I/We agree to hold this offer open for a period of 3 months from the date of acceptance of tender and shall be bound by communication of acceptance dispatched within a period of 15 days from the date of accepting the tender of the bidder.

I/We have also examined the requisite specifications of the material to be supplied and my / our offer is to supply the required material in accordance with the requisite specifications.

I/We have carefully considered all terms and conditions in Annexure I, II (part -1/2) and III and particulars regarding settlement of disputes and we have signed the same in token of consciously accepting the same and do hereby state that we accept them without anyreservations and accordingly I/We quote the rates inclusive of all taxes, duties, transportation, insurance etc., as below.

Name of the item/Unit				Unit price

The articles will be ready for delivery within ..........................days from the date of receipt of supply orders.

Yours faithfully,  										Proprietor

(Signature and stamp of the Tenderers

State legal status, whether Prop. /

Partner / Registered firm / Company etc.)

Encl: Samples enclosed

EMD-DD No.......................................dated............................for Rs...........................