Dr. Y. S. R. HORTICULTURAL UNIVERSITY

VENKATARAMANNAGUDEM – 534 101

TENDER DOCUMENT

FOR

### DESIGN, SUPPLY, INSTALLATION & COMMISSIONING

### OF EXHIBITION, DISPLAY, DIGITAL & INTERIOR INFRASTRUCTURE

## FOR ESTABLISHMENT OF

# ANANTHA UDYANA HERITAGE CENTRE

AT

Dr.YSRHU-COLLEGE OF HORTICULTURE,

ANANTHARAJUPETA, RAILWAY KODURU, 516 105

TIRUPATHI (DIST), ANDHRA PRADESH.

Tender Notice No: No:2/RKVY/Anantha Udyana Heritage/Dr.YSRHU/COH-Anantharajupeta/

2025-26

Date of Commencement of	: 	02.01.2026 at 5.00 PM

DOWN LOADING OF THE

BID DOCUMENT

Last date for receipt of bids	: 	16.01.2026 at 5.00 PM

Dr Y.S.R. Horticultural University

College of Horticulture, Anantharajupeta,

Railway Koduru, 516 105

Tirupathi (Dist), Andhra Pradesh.

TIME AND DATE OF

Opening of the bid 		:17.01.2026 at 11.00 AM

ADDRESS FOR COMMUNICATION:

ASSOCIATE DEAN

COLLEGE OF HORTICULTURE, ANANTHARAJUPETA,

RAILWAY KODURU, 516 105

TIRUPATHI (DIST), ANDHRA PRADESH

Mobile No: 73826 33651

email: ad-arpt@drysrhu.edu.in

The tender document containing terms and conditions for the execution of this project along with specifications and EMD to be paid are appended.

INVITATION FOR BIDS

  - The location of the site is at College of Horticulture, Anantharajupeta, Railway koduru, Tirupathi (Dst.) of Andhra Pradesh.

  - Bids are invited from nationally/internationally reputed manufacturers/their authorized representatives only, for the above said equipment. The authorized representative must attach an authorization letter from the manufacturers along with the tender without which the tender will be rejected (for further reference please refer point 16 in Annexure I (Part-I).

  - The bidders are also required to furnish their previous experience certificate for the supply of similar equipment.

  - The supply of equipment must be carried out as per the standard specifications under the supervision of concerned authority of COH, Anantharajupeta and duly handing over all warranty certificates for the said equipment.

      - All bidders must quote equipment; otherwise bid will be summarily rejected.

- All local taxes to be paid to the government shall be included in the price quoted as F.O.R. destination.

- Custom duty exemption certificate will be issued in case necessary.

V)     The bids should be submitted with in time specified at the office of Associate Dean, COH,

Anantharajupeta along with EMD as specified here under against each item.

| S.No | Item | Qty | Location |
| --- | --- | --- | --- |
| 1 | Design, Supply, Installation & Commissioning of Exhibition, Display, Digital and Interior Infrastructure for Establishment of “Anantha Udyana Heritage Centre” at College of Horticulture, Anantharajupeta (as per specifications detailed in Annexure–II). | 1 Job | COH, Anantharajupeta |

Bidders must pay the EMD Rs.10,000/- against each of the item in the form of crossed D.D. drawn in favor of The Comptroller, Dr YSRHU,Venkataramannagudem, Tadepalligudem payable at Union Bank of India (formerly AndhraBank)/ any nationalized bank, Tadepalligudem and processing fee of Rs.1,000/- (Rupees One thousand only) through DD in favor of The Comptroller, Dr YSRHU, Venkataramannagudem, Tadepalligudem payable at Union Bank of India (formerly AndhraBank)/ any nationalized bank,  Tadepalligudem. The processing fee is non-refundable and tender documents without EMD or Processing fee will be rejected.

VI)    Specifications given are indicative and the tender is to give a detailed description and specifications for each equipment. The same would be given weightage in finalizing the tender.

VII)     The equipment to be supplied by the tenderers should be branded and meet the quality

standard as per the existing norms.

VIII)	The bids invited on two-part basis, the Bidder shall seal the technical bid and the priced bid in two separate envelops duly marked as “Technical bid” and “price bid”. Both the envelopes shall then be sealed in one outer envelope.

All bids must be accompanied by a bid security/Earnest Money Deposit as specified in the tender details and must be delivered to the above office at the date and time indicated above. Bids will be opened in the presence of Bidders' authorized representatives who choose to attend on the specified date and time. In the event of the date specified for bid receipt and opening being declared as a closed holiday for purchaser’s office, the due date for submission of bids and opening of bids will be the following working day at the appointed time.

IX) 	Dr.YSR Horticultural University reserves the right to accept any or all tenders either in part or in full or to split the order without assigning any reasons therefore.

X)	The specifications and other conditions prescribed in Annexure –II  of this tender shall also be treated as part of these tender documents for all purposes.

XI)    This Invitation for Bids is open to all suppliers.

Bidders who have been blacklisted / suspended by the purchaser or sister concerns are ineligible to quote. The quotes of such firms shall be summarily rejected. Prices shall be quoted in Indian Rupees for all offers as FOR –DESTINATION BASED and in case of offers received for supply from foreign countries may comply the offers to a convertible to Indian currency and customs duty as applicable to each item be given separately for parity during evaluation.

ELIGIBILITY CRITERIA

- The preference would be given to manufacturer with experience of having supply of similar equipment’s in reputed Agricultural Universities / State Department of Horticulture / ICAR institutes/private organizations.

- Certificate from the project client for award of contract and supply of equipment in original or its notarized copy for equipment claimed to be submitted.

- The company bidding should be in the industry for at least 5 years in the same field. Tenderers should have authorized dealer certificate/ distributor of the OEM/manufacturing certificate (Please attach certificate).

- Tenderers should have a minimum average annual turnover of ₹ 25 lakhs or above for supply of similar equipment’s. Audited financial statements duly certified by chartered accountant for the last three financial years ending March 31st, 2025 should be submitted.

- The buyer reserves the right to evaluate the tender on Technical Presentation/ capabilities and is not bound to accept lowest tender / quotations.

EVALUATION OF BID:

- The Technical Bid documents will be opened first and evaluated by the Tender Committee. Financial Bid Documents of only those bidders will be opened who have qualified in Technical Bid.

- The Competent Authority reserves the right to accept or reject any tender without any reason thereof.

- Prices to be quoted on FOR basis including all taxes including GST/freight/ installation/commissioning/trial/training charges etc. in Indian rupees.

- It is necessary to submit all the relevant documents like Processing fee, EMD Rs. 10,000/-, Income tax return files for last 3 years, GST/Sales Tax Registration, Authorized dealer of a reputed company or proof of being an authorized distributor of the OEM, along with technical bid.

- Tenderer should submit the copies of Purchase Orders in support of their genuineness in supplying of equipment’s in reputed Universities / Colleges / Departments / Institutes/private organizations. The tenderer should submit users list for the last 5 years.

- It is necessary to submit all the relevant documents like Pan Card, ISO Certification, GST/Sales Tax Registration, Authorized dealer of a reputed company or proof of being an authorized distributor of the OEM, Certificate of Incorporation / Partnership Deed, In-voice, Make and model, warranty and installation details along with financial bid.

DISQUALIFICATION:

The EOI may, at its own sole discretion, at any time during the EOI process, disqualify any Interested party from the EOI process if:

- the response to the tender is submitted after the dead line for submission.

- the Interested Entity has made misleading or false representation in the forms, statements, attachments submitted in proof of eligibility.

- the tender is not accompanied by required documentation.

- the Interested Entity failed to provide clarifications related thereto, when sought.

The Dr.YSRHU reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and the Dr. YSRHU decision shall be final in this regard.

ANNEXURE – I (PART I)

TECHNICAL BID: filling up of Proforma

The technical bid shall accompany with the enclosures for components as per proforma prescribed and is attached with the document along with the details as under:

| S. No. | Intervention/Component | Annexure (With page nos.) |
| --- | --- | --- |
| 1 | Company Profile |  |
| 2 | Past Experience of manufacturer with certificates/ work order/ completion etc. |  |
| 3 | No. of years of experience in this field |  |
| 4 | Past experience in supply of equipment |  |
| 5 | Experience of Engineers/ technician and the capacity for service with service center |  |
| 6 | Financial Strength of the Firm |  |
| 7 | Office details |  |
| 8 | GST registration certificate |  |
| 9 | Any others as specified in the general bid document |  |

General Terms & Conditions:

- Technical quote / bid and price quote / bid, should be submitted separately.

- A compliance statement in detail for each individual technical parameters / component of each instrument including warranty etc. as given in each instrument should be prepared by the vendor in the Technical Bid.

- Each firm should submit separately technical specifications as at serial no.2 in one single envelope – technical quote. However, the price bids for equipment quoted with the offer should be submitted separately for equipment wise.

- Validity of quotations/tenders should be at least 3 months from last date of receipt of quotations/tenders.

- Product brochures should be enclosed for equipment.

- Make and Model should be mentioned clearly.

- Name of the customer/s with telephone, e-mail ID should be given, for each instrument, separately.

- The service network team/persons with contact numbers, mailing address, e-mails preferably in AP should be given for each instrument separately.

- If the instrument is imported, the supplier should take all responsibilities for clearing, duties, delivery etc.,

- Installation should be at free of cost.

- Training to be provided at free of cost.

- All the supplies should be through authorized dealer/distributor in AP (Authorized dealer / distributor certificate should be enclosed along with quotations/tenders).

- All quotations / tenders for each instrument should have compliance report as per the specifications mentioned point wise.

- The instruments should be delivered at COH, Anantharajupeta at free of cost or the price quoted should include the delivery and handling charges, if any. No additional charges will be paid towards delivery and installation. Further, 5% GST has to be provided as university provides the DSIR certificate.

- All instruments should be supplied along with hard copies of operating manual and soft copies in CD/DVD / flash drive/software’s, wherever required.

- For all imported equipment’s, the supplier holds the responsibility for clearance, and delivery to the destination at COH, Anantharajupeta. Dr. YSRHU will issue customs exemption certificate as applicable and as available at the time of clearance.

- The quotations/tenders should be submitted in a sealed cover super scribing “Quotation/ Tender (TECHNICAL BID/ PRICE BID) for supply of________________________ (S.No:   ) for COH, Anantharajupeta Andhra Pradesh”.

The Dr. Y.S.R.H.U reserves the right to verify the claims made by the Bidder and to carry out the capacity assessment of the bidder and Dr Y.S.R.H.U decision shall be final in this regard.

Annexure– I (Part–II)

“DECLARATION OF THE BIDDER”

- That I/We am/are the authorized nominee (s) of the firm hereby submit tender to College of Horticulture, Anantharajupeta. The copy of the power of Attorney is attached here with.

- I am to state that the information provided in the tender form is true and correct

- I/We may be punished as per law for any wrong information, misleading facts provided in the tender form besides rejection of my/our tender.

- In case of any dispute, the Jurisdiction will be as applicable to Dr YSRHU only.

- I/We have carefully read all the general and specific terms and conditions of the tender and I solemnly declare that the same are acceptable to me/us and binding on me/us.

Place				:                                    Signature of Bidder	:

Date				:

Name of Bidder		:

Capacity in which signed	:

Full address of the Bidder	:			With seal & stamp	:

(Attach Identity card Xerox)

Phone No.           		:

Mobile No.			:

# ANNEXURE – II

### TECHNICAL SPECIFICATIONS FOR ANANTHA UDYANA HERITAGE CENTRE

### The bidder must supply, install, and commission the following equipment as a complete

lot. Further, please note the bid submission procedure:

1. Technical Bid – to be placed in one sealed envelope.

2. Financial Bid – to be placed in a separate sealed envelope.

3. EMD (Rs.10,000/-) and Processing Fee (Rs.1,000/-) – to be placed in a separate sealed

envelope.

* All the above three sealed envelopes should then be kept together in one main cover and

submitted before the due date.

* Any deviations from the above will lead to rejection of the tender.

* 60% of the amount will be paid in advance, and the remaining 40% will be paid after

completion of the project

* As per University guidelines, 2% GST TDS (1% SGST and 1% CGST separately) and 2% Income Tax shall be mandatorily deducted from the bills of vendor, wherever applicable.

Format for submitting technical bid

| S.No. | Item Name | Specifications | Make | Model | Complies the tender specs Yes/No | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

Format for submitting financial bid

| S. No. | Item Name | Specifications of our offer | Make and type | Quantity | Unit Price | Total Price | GST % | GST Amount | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| S.No. | Item | Specifications | Quantity |
| --- | --- | --- | --- |
| 1. | Sandwich wall panel with nu-wood boards and glass doors with LED borders for display of improved package of practices on Horticultural Crops. |  Panels shall be made of 18 mm Nu-wood board (BWP grade) with proper back frame support.  Uniform panel size: 2 ft × 3 ft for all sandwich display panels.  Approximate total display area: 1000 sq.ft, translating to about 165–170 individual framed panels, subject to site layout and University approval.  Back panel shall be 4 mm clear acrylic and front panel 3 mm clear acrylic, UV-stabilized.  Printing shall be done using eco-solvent vinyl (minimum 1440 dpi).  Content (text, photographs and technical information) shall be provided by the University.  The vendor shall carry out layout, formatting and preparation of print-ready artwork and undertake printing.  No separate creative designing charges are applicable for this item; layout and formatting required for printing shall be included in the item cost.  Panels shall be fixed using SS-304 studs, 4 Nos per panel, corrosion-resistant.  Each display unit shall be an independent, framed sandwich panel with its own Nu-wood backing; no continuous plywood, MDF or common backing board shall be fixed on the wall.  Backside Nu-wood backing for each panel shall be of the same nominal size as the display panel (2 ft × 3 ft) and shall not extend beyond the frame dimensions.  Panels shall be supplied as individual removable frames, mounted directly on the wall and arranged sequentially and uniformly as per University-approved layout.  Rate shall be quoted on per square foot basis. Measurement shall be based on the nominal panel size of 2 ft × 3 ft (6 sq.ft per panel). Payment shall be made for the actual number of panels installed, calculated on per sq.ft basis. LED border: Uniform illumination, neutral white (4000K), low heat Warranty: Minimum 1 year against warping, delamination, LED failure and discoloration  Supply, printing and installation shall be complete, neat and as approved by the University. | 1000 Sq.ft |
| 2. | LED snap frames for display of success stories and pests and diseases photographs for identification | Frame material: Anodized aluminium snap frame, corrosion-resistant. Frame type: Single-sided, front-opening snap mechanism. Size: 1.5 ft × 2.0 ft. LED system: Edge-lit, uniform illumination, LED life ≥30,000 hours LED illumination: Uniform edge-lit LED system with low heat emission and even light distribution. Print media: Eco-solvent backlit translite print, minimum 1200 dpi resolution. Power supply: Certified adaptor with surge protection; concealed wiring preferred. Mounting: Wall-mounted using suitable fasteners; adhesive fixing not permitted. LED modules and power adaptor shall carry a minimum warranty of one year from the date of installation. Note: One sample frame with LED illumination and print shall be submitted for University approval before bulk supply. | 60 |
| 3. | Conferencing arrangement with 12 seat capacity in round table mode | #### Chairs Type: High-back ergonomic office chair with breathable mesh back Features: Adjustable armrests, pneumatic height adjustment, tilt/seat-lock mechanism Frame: Reinforced nylon / metal base with smooth-rolling castors Load bearing capacity: Minimum 120 kg Upholstery & comfort: Suitable for continuous seating of minimum 6 hours Certification: ISO/BIFMA preferred Warranty: Minimum 1 year #### Conference Table Configuration: Custom round / U-shape, suitable for 12 persons Material: 18 mm BWP grade plywood, termite and moisture resistant Surface finish: 0.8 mm decorative laminate, scratch- and stain-resistant, matte finish Edge finish: PVC edge banding, minimum 2 mm thickness Facilities: Individual power sockets, internet ports and charging points at each seat Structure: Rigid base with proper cable management and concealed wiring | 12 seat & 1 round table |
| 4. | Floor carpeting for making eco proofing |  Material: Polypropylene acoustic carpet tiles with sound-absorbing backing. Tile size: Minimum 500 mm × 500 mm (or equivalent). Thickness: 6 mm Acoustic performance: Suitable for noise reduction in enclosed spaces. Fire resistance: Conforming to relevant IS standards. Installation: Adhesive-based installation with seamless, level finish. Properties: Anti-static, anti-skid and colour-fast. Warranty: Minimum 1 year against manufacturing defects. | 300Sqft |
| 5. | Digital interface and Digital cable connectivity to integrate all the equipment and accessories |  Cabling: CAT6 copper cables, 23 AWG, UTP/STP, ISO/IEC 11801 & TIA/EIA 568 compliant.  Routers: Dual-band Wi-Fi 6 routers, ≥1200 Mbps, supporting 50+ devices, minimum 3 units with 1-year warranty.  HDMI/VGA Cables: Gold-plated connectors, HDMI 2.0 or higher, VGA as required, supporting Full HD/4K.  Concealment: Fire-retardant PVC conduits/casing, min. 25 mm diameter, with proper junction boxes.  Quality & Testing: Certified high-quality materials; vendor to ensure proper installation and signal testing. Warranty: Minimum 1 year | 1 Job |
| 6. | Live Exhibits/display models (Sample approval required for acrylic boxes and models prior to bulk supply.) |  |  |
|  | i. Seed display charts | 12 cavities per chart, made of durable cardboard or acrylic base, suitable for educational display | 10 |
|  | ii. Acrylic specimen display box | Size: 6×4×4 inch; material: 5–6 mm clear cast acrylic, polished edges; suitable for seed/specimen display | 30 |
|  | iii. Mini farm implement models | Hand-crafted or molded, educational grade, lightweight, safe for display; representative of actual farm tools | 30 |
|  | iv. Acrylic specimen display with literature | Size: 6×6×4 inch; acrylic box with polished edges; includes printed educational literature | 30 |
|  | v. Acrylic clear “L” type leaflet holder | Size: A4; clear acrylic, polished edges; suitable for leaflet display | 20 |
|  | vi. Photo laminations | Size: A3; minimum 170 GSM photo paper; high-quality print; laminated for durability | 30 |
|  | vii. Airtight glass jars | 1 litre; borosilicate glass; airtight lid; suitable for specimen display | 30 |
|  | viii. Insect display box | Size: 12×8×4 inch; clear acrylic frame; includes foam or cork base for pinning specimens; transparent lid for viewing | 10 |
| 7. | Display stands/ Tables |  |  |
|  | i. Banner stands size: 6x2.5 ft with print | Size: 6×2.5 ft; material: lightweight metal/aluminum frame; includes printed banner PVC with full-color print | 15 |
|  | ii. A4 size brochure stands | Material: metal; designed to hold A4 brochures vertically; sturdy base for tabletop display | 4 |
|  | iii. A3 size brochure stands | Material: metal; designed to hold A3 brochures vertically; stable base for tabletop display | 4 |
|  | iv. 2 step Il and table with storage blocks | Custom-made with plywood and decoupage finish; size: 6×4×4 ft; includes 2 steps and storage blocks for display and materials | 4 |
|  | v. Round shape 3 step table for specimens and live models display (plants, flowers) | Custom-made with plywood and decoupage finish; diameter: 5 ft; height: 4 ft; 3 steps for displaying plants, flowers, and models | 4 |
|  | vi. Glass fitted racks for walls | Custom-made with 12 mm thick glass; size: 4×1.5 ft; fitted with “F” type brackets; each rack includes 3 glass panels for models and specimens | 20 |
| 8. | Digital Scroll |  Display: LED screen, Full HD (1920×1080) or higher, size 55 inches, IPS/VA panel, brightness ≥350 nits, viewing angle ≥178°, lifespan ≥50,000 hours.  Connectivity: USB, HDMI, Wi-Fi enabled (Wi-Fi 5/6), remote and onboard control.  Content Design: Vendor to provide static and scrolling content design, including basic templates.  Warranty: Minimum 3 years onsite, including parts and labor.  Quality & Testing: Certified high-quality display; vendor responsible for installation and functionality testing. | 1 |
| 9. | Transportation charges | Delivery to site with loading/unloading proper packing | 1 Job |

Designing Charges

| Sl. No. | Tender Item No. | Item Description | Scope of Designing | Unit for Quotation | Unit Designing Cost (₹) | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Item–2 | LED Snap Frames | Layout, captions and image formatting based on content and photographs provided by the University | Per Frame | To be quoted by bidder | No original content creation |
| 2 | Item–6 | Live Exhibit Labels & Charts | Educational content layout and formatting | Per Design | To be quoted by bidder | Content supplied by University |
| 3 | Item–7 | Banner Stand Prints | Graphic design and print-ready artwork | Per Banner | To be quoted by bidder | Includes layout & image placement |
| 4 | Item–8 | Digital Scroll Content | Static and scrolling content design | Per Screen | To be quoted by bidder | Includes basic templates |

Note:

- All equipment and materials supplied under this tender shall be brand new, genuine, unused, and factory-sealed.

- A point-by-point compliance statement against each tender item and specification shall be enclosed with the technical bid.

- The bidder shall have prior experience in executing similar works of comparable nature in the same or similar department/organization. Supporting documentary proof shall be enclosed with the bid.

- Designing charges shall be quoted and payable strictly on unit basis and only for the items actually designed, supplied and installed.

- In case any item or quantity is reduced, modified or deleted, the corresponding designing charges shall be reduced proportionately.

- No lump-sum, minimum or conditional designing charges shall be admissible under any circumstances.

- For Item–1 (Sandwich Wall Display Panels):
– Printing and fabrication shall be carried out by the vendor.
– Content (text, photographs and technical material) shall be provided by the University.
– The vendor shall prepare print-ready artwork strictly based on University-approved content and layout.

– No separate designing charges are applicable for Item–1; printing and layout costs are deemed to be included in the item rate.

- Designing, wherever applicable, shall be strictly limited to layout, formatting and visual arrangement of content provided by the University.
No creative writing, content development or concept creation is included unless specifically mentioned in the tender.

- The quoted unit designing cost shall include up to two (2) rounds of revisions. Any additional revisions, if required, shall be undertaken only with prior written approval of the University.

- Designing charges shall be payable only for the actual quantity supplied, installed and accepted by the University.

- Final printing, fabrication or digital execution shall be undertaken only after written approval of the design from the competent authority of the University.
Any deviation from approved designs or execution without written approval shall render the item liable for rejection, without any additional cost to the University.

ANNEXURE – III

(General Conditions)

### Submission of Tender and Deposit of earnest money

- Quoted rate should be written legibly in ink or type written. No alterations should be made to any of the terms and conditions of the tenders by scoring out, altering or overwriting; similarly, no alterations are permitted in the rates quoted by them. No alterations will be allowed after this Office receives the tender. Ambiguity must be avoided in filling the tenders. However, any corrections etc., made will have to be duly attested with dated signatures and official seal. The tenders not complying with these conditions will be rejected summarily.

- The tenders not conforming to the prescribed terms and conditions of the Horticultural University or conditional Tenders or Tenders which cannot adhere to the prescribed time schedule are liable for rejection.

#### Validity of rates and other Conditions

- The defect liability period for the Equipments and erection of screen house shall be given for 12 months or more from the date of installation. In the event of any correction or defects or replacement of defective material done during this period, it should be corrected/ replaced at the cost of the bidder/ agency.

- Bids shall remain valid for a period of 90 days from the date of opening of the bid prescribed. In exceptional circumstances, the University may solicit the bidder’s consent for an extension of the period of validity. The request and response shall be made in writing / cable / telex / fax / e-mail.

- The validity of the tender will extend for a period of three months from the date of placing the initial order and it shall be open to the Dr.YSRHU to place the orders with the suppliers on the same rates, terms and conditions for any additional quantities likely to be recurred during that period.

- The bidders shall submit the technical bid and price bid in separate covers and kept in a single cover.

- The inner and outer envelops shall bear the following address:

THE ASSOCIATE DEAN

COLLEGE OF HORTICULTURE-

ANANTHARAJUPETA, RAILWAY KODUR -516105

TIRUPATHI (DIST), ANDHRA PRADESH.

- The inner envelopes should also contain the name and address of the bidder.

- Telex, cable, e-mail or facsimile bids will be rejected.

- Bidding Documents must be received by the University at the address specified not later than the time and date specified in the invitation (Notification) for bids.

- In the event of the date specified being declared as a holiday for the University, the bids will be received up to the appointed time on the next working day.

- The Bidder’s representatives who are present shall sign in the register evidencing their attendance.

- During evaluation of bids subsequent to opening, the University may at its discretion, to ask the bidder for clarification of its bid. The request for clarification and the response shall be in writing and no-change in the bid will be entertained.

- The evaluation of the bid will take into account, the past experience in addition to the bid price. Such price should include all duties and taxes to be paid or payable on components of works.

- The bidder may present power point presentation to Committee on the following.

- Equipment related and their working performance

- Operation and maintenance

# Acceptance of tenders

- Price bids will be opened after completion of power point presentation in the presence of such tenderers who are qualified in technical bid as may be present. A decision with regard to acceptance of tender will be taken as soon as possible.

- The successful tenderer (s) will be intimated by letter (s) or other means of communication and the tenderer (s) so informed shall be bound from the time of transmission of such acceptance by the University. Formal acceptance of the tender (s) will be forwarded to successful tenderer (s) in due course but it will serve merely as a confirmation of the initial information and shall not affect the time from which the offer is/are is bound by the contract(s).

- The University is not bound to accept the lowest tender. Any or all the quotations may be rejected without assigning any reasons. It reserves the right of acceptance in whole or part of the offer made. The decision of the Dr.YSR Horticultural University in the matter shall be final and binding on the tenderers.

- 2% of income tax will be deducted from each item of the approved tender item.

TENDER EVALUATION

The evaluation and comparison of the bids shall be done for the technical as well as financial aspects.

a) Technical Bid Evaluation:

While power point presentation or the examination of the documents submitted by the tenderer, the committee shall have the right to verify the claims of experience made by the bidders. Based on the bid evaluation, only technically qualified bidders shall be short listed. After thorough evaluation of the technical bid by the committee, the financial bid of only technically qualified Bidders shall be opened in due course.

b) Financial Bid Evaluation:

The total cost of the project (landed cost) quoted by the bidder would be considered for financial bid evaluation.

Committee:

- The committee shall do the above evaluation. The committee shall determine the approach and methodologies for the issues, which may arise during the above, referred evaluation process and their decision is final. The decision of the committee to reject or accept shall be final and binding on all the bidders.

- The successful bidder shall be responsible for the maintenance of the equipment for a period of ONE YEAR from the date of installation. The bidder shall deploy at least one experienced person from time to time for advising any doubts regarding operation and maintenance besides troubleshooting whenever required.

#### Other contractual obligations

- The contract shall not be deferred/ modified except by written consent by both Dr. YSRHU and the Bidder.

- The Bidder shall not sublet or delegate this contract or part thereof without the written consent of the Horticultural University.

- No undertaking or commitment given by or made by any officer of the University verbally or in writing does not have any validity unless it is signed again by the  authority competent who concluded an agreement earlier.

#### Consequence of non-supply and damages

- All risks of loss, damage or depreciation to the equipment/ material there off shall be upon the supplier until the material is delivered at the addresses specified and in accordance with the provision of the contract. Till the material is received at the respective destination indicated by the university, the property continues to be at the risk of the Bidder.The mere fact that the material is delivered to transporter is no defense to the Bidder and the Bidder will be squarely held responsible for any delayed receipt of the material by the University or for loss or damage of any kind to the material in transit.

- Assuming that the bidder fails to deliver any or all the material covered by the contract, the Horticultural University reserves the right in addition to other legal remedies, to cancel the contract or any portion thereof and hold the Bidder liable for all damages sustained by the university by virtue of the Bidder failing to perform the contract and consequent cancellation of the contract.

- The time allowed for delivery of goods shall be deemed to be the essence of the contract. The University also reserves the right to cancel the purchase order in case supplies are delayed beyond the scheduled date of delivery and to make such arrangements as it may think fit for the completion of supplies on account and at the risk of the suppliers (s). The additional expenses thus incurred together with the consequential losses and also the liquidated damages shall be recovered from the supplier out of his / their security deposit / earnest money deposit and any other amount due to him / them. The balance still, if any, payable by the supplier shall be paid by him/them within 7 days of notice by the Dr.Y.S.R Horticultural University

FORFEITURE/REFUND OF THE EARNEST MONEY DEPOSIT(EMD)

- In case the selected Tenderer(s) does not supply the equipment at the quoted rates within the stipulated time and commits any breach of any one or more of these terms and conditions, the Earnest Money Deposit deposited by the Tenderers (s) will be forfeited.

- Earnest Money of the unsuccessful Tenderer (s) shall be refunded within three months from the date of decision regarding the tenders. No interest is payable by the University on such deposit.

- On due performance and satisfactory completion of the order in all respects during the contract periods, the Earnest Money Deposit (Security Deposit) will be refunded to the Bidder (s) without interest within a period of 3 months with effect from the date of receipt of a request to this effect from the Bidder.

#### SETTLEMENT OF DISPUTES

#### Any difference or dispute arising out of or in connection with this tender or acceptance thereof or the contract that may be entered in consequence thereof, shall be decided by arbitration. The Chairman of the committee for purchase of the equipment, Dr.Y.S.R Horticultural University or his nominee shall be the sole arbitrator and the arbitrator’s decision shall be final and binding on the parties. The Tenderer(s) will have no objection to such appointment on any ground whatsoever including that such nominee, in his official capacity dealt with this matter at any stage.

- The parties hereby agree that in the event of any dispute no cause of action shall arise in their favor to approach any court unless they have restored to and exhausted the remedy of arbitration as envisaged above.

- The parties also do hereby agree that the contract envisaged by these terms and conditions shall be deemed to have been entered into at Dr.Y.S.R.H.U, V R Gudem and the courts at Eluru, West Godavari District alone will have jurisdiction to try and legal proceedings which may arise out of this contract. Neither party shall file any proceedings in any other Court.

TENDER FORM

(Should be included in Financial bid only)

From:						To

The Associate Dean

College of Horticulture-

Anantharajupeta, Railway Kodur -516105

Tirupathi (Dist), Andhra Pradesh.

Ref: 1. Your tender Notice No: NIT NO.   /Dr. Y.S.R.H.U/2025-26Dated...........

2.EMD – D.D. No. ...................Dated..........................for Rs............................

***

I/We have read the contents of the terms and conditions mentioned in your tender schedule and its enclosures and agree to abide by the same.

I/We hereby offer to Supply and Installation of Equipment to College of Horticulture, Anantharajupeta, Railway Kodur prescribed in the schedule (or such portion thereof as you may specify on the acceptance of tender) at the price given below.

I/We agree to hold this offer open for a period of 3 months from the date of acceptance of tender and shall be bound by communication of acceptance dispatched within a period of 15 days from the date of accepting the tender of the bidder.

I/We have also examined the requisite specifications of the material to be supplied and my / our offer is to supply the required material in accordance with the requisite specifications.

I/We have carefully considered all terms and conditions in Annexure I, II (part -1/2) and III and particulars regarding settlement of disputes and we have signed the same in token of consciously accepting the same and do hereby state that we accept them without any reservations and accordingly I/We quote the rates inclusive of all taxes, duties, transportation, insurance etc., as below.

Name of the item/Unit				Unit price

The articles will be ready for delivery within ..........................days from the date of receipt of supply orders.

Yours faithfully,  										     Proprietor

(Signature and stamp of the Tenderers

State legal status, whether Prop. /

Partner / Registered firm / Company etc.)

Encl: Samples enclosed

EMD-DD No.......................................dated............................for Rs...........................